|  |
| --- |
|  |

 **BID OF : (***Firm Name***)\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**PROJECT : 20 /2020-21 –** **PROVISION OF BUFFET COUNTERS IN FACULTY & STAFF DINING ROOMS AND ALLIED WORKS IN AMENTY BLOCK OF ARMY INSTITUTE OF MANAGEMENT NEW CAMPUS AT RAJARHAT, KOLKATA**

*1. Please attach supporting drawings, technical literature / brochure, scanned documents / proof etc as applicable.*

*2. Vendors should be prepared to produce product samples, if applicable.*

*3. The bid preferably be typed on letter head of the firm and authenticated by office stamp & signature on each page.*

*4. Rate quoted should be inclusive of transportation, freight, cartage, handling, fabrication / construction, installation, testing and commissioning at the indicated site, warranty / guarantee liability costs, taxes and levies and any special requirements given in the tender document.*

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| S No  | Brief Description / Specifications of Job / Work / Product) or Item(s) | Accounting Unit | Quantity | Rate | Amount | Remarks |
| 1. | **Construction of Granite Buffet Counter in Faculty Dining Room of Institute Mess (See Sketch Attached)**. Construction of granite top buffet counter on black stone base (13’ x 1.5’). Provision of half brick thick wall supports & raising base level (1’ or 6”) as shown in sketch. Modifying existing panels for provision of under counter drawer- cupboard unit (4’ wide)with handles and locking arrangement. Provision of 6” wide wall mounted granite slab along entire length of counter. Vitrified tiles on base, back and side walls. Finishing as per standard /existing specifications in room. | Nos(Lumpsum) | 01 |  |  |  |
| 2. | **Construction of Granite Buffet Counter in Staff Dining Room of Institute Mess (See Sketch Attached)**. Construction of granite top buffet counter on black stone base (12’ x 1.5’)Provision of half brick thick wall supports & raising of base level by 1’ as shown in sketch. Vitrified tiles on base, back and side walls. Finishing as per standard /existing specifications in room. | Nos(Lumpsum) | 01 |  |  |  |
| 3. | **Shifting of Vitreous Wash Basin to Foyer of Staff Dining.**Shifting of wash basin & tap to foyer of Staff Dining Room.‘Under the counter’ fixing on existing / new granite top on masonry supports. Provision of acrylic / steel towel ring. Provision of full width back mirror (4’ x 1.5’). Associated plumbing / drainage in e-PVC as per site requirements. Finishing as per standard /existing specifications in room. | Nos(Lumpsum) | 01 |  |  |  |
| 4. | **Provision of Sideboard Unit in Staff Dining Room.** Provision of laminated plywood side board unit with granite top (2.5’h x 2’w x 2’d). Provision of wooden drawer with handle. Utilisation of existing panels for provision of shelves below the drawer with twin panels, handles and locking arrangement. Closure of existing plumbing connections. | Nos(Lumpsum) | 01 |  |  |  |
| 5. | **Provision of Granite Slab for SS Sink in Kitchen.** Provision of granite top (4’ x 2’) on masonry supports with hole for existing SS Sink. Fitting of sink. Finishing as per standard /existing specifications in room. | Nos(Lumpsum) | 01 |  |  |  |
| 6. | **Closure of Door Opening from Kitchen to Faculty Dining Room**. Removal of door frame and door. Closing of opening with half brick wall. Finishing / Restoration as per existing specifications. | Nos(Lumpsum) | 01 |  |  |  |
| 7. | **Provision of MCBs for ACs & Electrical Sockets for Food Warmers**. Provision of 9 MCBs with industrial sockets of Havel or equivalent brand for 1.5 T ACs in specified rooms in Amenity Block at indicated places. Provision of six 15 /6 Amp Sockets of Anchor or equivalent brand in Dining Halls. Wiring in PVC ducts. Finishing / Restoration as per existing specifications. | Nos(Lumpsum) | 01 |  |  |  |
| 8. | Overheads / Additionalities |  |  |  |  |  |
|  | Total |  |  |  |  |  |
|  | GST |  |  |  |  |  |
|  | Grand Total |  |  |  |  |  |