|  |
| --- |
|  |

 **BID OF : (***Firm Name***)\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**PROJECT : 22 /2020-21 –** **PROVISION OF EXTERNAL SERVICES FOR STAFF QUARTERS AT ARMY INSTITUTE OF MANAGEMENT NEW CAMPUS AT RAJARHAT, KOLKATA**

*1. Please attach supporting drawings, technical literature / brochure, scanned documents / proof etc as applicable.*

*2. Vendors should be prepared to produce product samples, if applicable.*

*3. The bid preferably be typed on letter head of the firm and authenticated by office stamp & signature on each page.*

*4. Rate quoted should be inclusive of transportation, freight, cartage, handling, fabrication / construction, installation, testing and commissioning at the indicated site, warranty / guarantee liability costs, taxes and levies and any special requirements given in the tender document.*

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| S No  | Brief Description / Specifications of Job / Work / Product) or Item(s) | Accounting Unit | Quantity | Rate | Amount | Remarks |
| 1. | **Provision of Electric Supply**.Connecting the staff quarters block to the existing electric network of the Institute. As per anticipated load and with necessary safety devices / features. | Nos(Lumpsum) | 01 |  |  |  |
| 2. | **Provision of Water Supply**. Connecting the staff quarters block toilets to the existing water supply network of the Institute. To include provision of 500 litres Sintex or equivalent overhead water tank for each of the six toilets.GI / PVC pipes and accessories of appropriate size and specifications as per design requirements. | Nos(Lumpsum) | 01 |  |  |  |
| 3. | **Provision of Sewage Connection**. Connecting the staff quarters toilets to the sewage system of the Institute Institute. PVC pipes and accessories of appropriate size and specifications. | Nos(Lumpsum) | 01 |  |  |  |
| 4. | Overheads / Additionalities |  |  |  |  |  |
|  | Total |  |  |  |  |  |
|  | GST |  |  |  |  |  |
|  | Grand Total |  |  |  |  |  |