BID OF : (*Firm Name*)\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**PROJECT: /2020-21 – CALL FOR QUOTATION FOR CIVIL WORK FOR FLOOR CUTTING AND LAYING OF DRAIN IN KITCHEN IN AIMK NEW CAMPUS KOLKATA**

*. Please attach supporting drawings, technical literature / brochure, scanned documents / proof etc as applicable.*

*2. Vendors should be prepared to produce product samples, if applicable.*

*3. The bid preferably be typed on letter head of the firm and authenticated by office stamp & signature on each page.*

*4. Rate quoted should be inclusive of transportation, freight, cartage, handling, fabrication / construction, installation, testing and commissioning at the indicated site, warranty / guarantee liability costs, taxes and levies and any special requirements given in the tender document.*

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| S No | Brief Description / Specifications of Job / Work / Product) or Item(s) | Accounting Unit | Quantity | Rate | Amount | Remarks |
| 1. | **Floor cutting and Drain Laying of Drain in Kitchen**  (a)Cutting the floor and Laying of 08-10 inch deep drain in two parts , covered with removable SS grill, as per sample and material provided by the client.  (b)Drain to be provided with appropriate gradient for water to flow out from the main out drain pipes.  © Construction of 12-14 inch holding pit before the exit drain point for collection of heavy rice/food particles.  (d) Restoration of floor as per existing specifications. | Lumpsum | 02 |  |  | (a)Design as per drawing attached  (b) Full SS grill to be provided by the client for placing on top of the drain and collection pit. |
| 2.. | Alteration and additions | Lumpsum |  |  |  |  |
|  | Total |  |  |  |  |  |
|  | GST |  |  |  |  |  |
|  | Grand Total |  |  |  |  |  |